# SCADA_Technical_Documentation_Phase7_Final

Project: SCADA Web-Based Simulator

Date: 27 Oct 2025 (Europe/London)

Author: Frontend Implementer / Regression Tester

## 1. Overview

Phase 7 integrates a hybrid WebSocket-poll model with dynamic system loading and auto-scope subscription.

## 2. Architecture

High-level components:
• Backend WebSocket Server (/ws)
• Frontend SocketManager (push with poll fallback)
• Dynamic Loader & Mimic Manager
• Alarm/Event pages

## 3. Data Flow

Server → SocketManager → Symbols/UI (push)
When offline → PollManager resumes (poll)
All updates propagate through SCADA.Core.Bus events.

## 4. Dynamic Loader Flow

1) Resolve target system/scope
2) Unload previous mimic
3) Load new mimic
4) Emit "mimic:loaded"
5) Re-subscribe to scope

## 5. Hybrid WebSocket Model

Connection state: CONNECTING → LIVE → OFFLINE (poll fallback) → RETRY
Heartbeat 10s, reconnect exponential (2–15s).

## 6. Implementation Notes

Core files:
• js/core/socketManager.js
• js/core/loader.js
• js/ui/connectionStatus.js
• js/core/pollManager.js
• js/core/naming.js

## 7. Observability & Logging

Console prefixes: Loader, SocketManager, [REG-TEST] (used during Phase 7.5)
Metrics logged via Performance API.

## 8. Lessons Learned

1) Avoid per-iframe connection badges.
2) Use Bus event system for all state changes.
3) Strict cleanup in Loader prevents leaks.
4) Hybrid model ensures seamless recovery.

## 9. Phase 8 Readiness

Phase 8 will introduce Diagnostics Console & History Buffer Optimisation. Hooks already reserved in Loader & SocketManager.

## 10. Phase 7.5 Regression & Documentation Freeze

Comprehensive 100-cycle stress test executed.
Results:
• Avg mimic load ≈25 ms
• DOM stable at ~30
• No leaks or ghost listeners
• Hybrid fallback confirmed
• Connection badge unified (header only)
Conclusion: All Phase 7 modules stable, ready for Phase 8.